## Slide 1: Study of the 19F(p,γ)20Ne reaction at LUNA400
J. Skowronski
24/09/2024
Università degli Studi di Padova, Padova, Italy
Istituto Nazionale di Fisica Nucleare, Sezione di Padova, Padova, Italy
1
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24

## Slide 2: 19F(p,γ)20Ne Reaction: Motivation
2
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Link between the CNO and NeNa cycles
Hot CNO breakout may play a key role in explaining the observed Ca abundance in metal-poor stars
19F(p,γ)20Ne and 19F(p,α)16Ne ratio defines the evolution of first stars
Fig. 1 CNO Cycle.
Fig. 2 Ca abundance versus (p,γ) rate.
Zhang et al. Nature 610, 656 (2022)

## Slide 3: 19F(p,γ)20Ne and 19F(p,α)16O Reactions
3
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24

## Slide 4: 19F(p,γ)20Ne and 19F(p,α)16O Reactions
4
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Fig. 1 R-matrix of the 19F(p,γ)20Ne and the 19F(p,α)16O
Problem 1
The 19F(p,α)16O creates a huge (pile-up) background for the 19F(p,γ)20Ne measurement
19F(p,α2)16O
19F(p,γ1)20Ne

## Slide 5: 19F(p,γ)20Ne Reaction: State-of-the-Art
5
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Fig. 1 S-factor for the 19F(p,γ)20Ne
Fig. 2 Reaction rate from Zheng et al. (2022)
Zheng et al. (2022) found the Ecm = 225 keV resonance, drastically enhancing the reaction rate (Fig. 2)
No other literature data are available under 300 keV
ωγγ1 = 2.09 ± 0.21 meV
ωγγ0 = 1.07 ± 0.21 meV

## Slide 6: 19F Targets
6
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Type | Composition | Thickness @ 320 keV | Backing | Coating | Reference | Comments
Evaporated | CaF2, MgF2, LiF | 5 – 100 keV | Ta, W, Cu, C | - | [2,3,4,5] | Stable up to few μA of current
Sputtered | MgF2, LiF | 10 keV | Ta, Fe | Cr | [5] | Degradation of 25% after 4 C
Implanted | - | 10 – 20 keV | Ta, Fe | Cr | [1,4,5] | Degradation of 0.05% per C (used with 1 mA)
Acid Bath | TaF6 | 4.4 keV | Ta | - | [6] | Stable with 200 μA beam and quick to produce
[1] Zhang et al. Nature 610 (2022)
[2] Lombardo et al. Phys. Lett. B 748 (2014)
[3] Couture et al. Phys. Rev. C 77 (2008)
[4] Zhang et al. Nucl. Inst. Meth. Phys. Res. B 438 (2019)
[5] Zhang et al. Nucl. Inst. Meth. Phys. Res. B 496 (2021)
[6] Lorenz-Wirzba, PhD. Thesis (1978)

## Slide 7: 19F Targets
7
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Type | Composition | Thickness @ 320 keV | Backing | Coating | Reference | Comments
Evaporated | CaF2, MgF2, LiF | 5 – 100 keV | Ta, W, Cu, C | - | [2,3,4,5] | Stable up to few μA of current
Sputtered | MgF2, LiF | 10 keV | Ta, Fe | Cr | [5] | Degradation of 25% after 4 C
Implanted | - | 10 – 20 keV | Ta, Fe | Cr | [1,4,5] | Degradation of 0.05% per C (used with 1 mA)
Acid Bath | TaF6 | 4.4 keV | Ta | - | [6] | Stable with 200 μA beam and quick to produce
Problem 2
Find the most suitable target for the 19F(p,γ)20Ne measurement
[1] Zhang et al. Nature 610 (2022)
[2] Lombardo et al. Phys. Lett. B 748 (2014)
[3] Couture et al. Phys. Rev. C 77 (2008)
[4] Zhang et al. Nucl. Inst. Meth. Phys. Res. B 438 (2019)
[5] Zhang et al. Nucl. Inst. Meth. Phys. Res. B 496 (2021)
[6] Lorenz-Wirzba, PhD. Thesis (1978)

## Slide 8: Experimental Setup
Targets
Evaporated: 6 CaF2 on Ta @ LNL (120 nm, 360 nm)
Acid Bath: 6 TaF6 @ LNL (5 s, 10 s, 15 s)
Implanted: Ready by end of October @ HZDR (Joao will help in the characterization)
Sputtered: Not available (maybe in 2025?)
8
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Components
Target Chamber: new aluminum chamber will be prepared to prevent 19F contamination
Detector: BGO Detector
DAQ: CAEN V1724 Board
Current: TetrAMM Module
Fig. 1 Geant4 model of the experimental setup

## Slide 9: Geant4 Simulations
9
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
19F(p,α2)16O
19F(p,γ)20Ne
Geant4 model of the same experimental setup (except for the bPE) from the 13C(p,γ)13N study was used to estimate the asses the measurement feasibility

## Slide 10: Geant4 Simulations
10
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
19F(p,α2)16O
19F(p,γ)20Ne
Geant4 model of the same experimental setup (except for the bPE) from the 13C(p,γ)13N study was used to estimate the asses the measurement feasibility
We could consider a bigger ROI in the analysis, increasing the efficiency up to 50%

## Slide 11: Geant4 Simulations: Pile-Up Study
11
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Event Rate: 1 kHz
Large count rate from (p,α) create pile-up, e.g. random coincidence from two instantaneous events
Sum-peak under the (p,γ) is created, reducing the efficiency

## Slide 12: Geant4 Simulations: Pile-Up Study
12
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Solution 1.1
Maintain the event rate at 0.1 kHz
Large count rate from (p,α) create pile-up, e.g. random coincidence from two instantaneous events
Sum-peak under the (p,γ) is created, reducing the efficiency
Event Rate: 0.1 kHz
Event Rate: 1 kHz

## Slide 13: Geant4 Simulations: Pile-Up Study
13
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Solution 1.1
Maintain the event rate at 0.1 kHz
Solution 1.2
Use BGO fast signals with PSD software
Should reduce pile-up by 1 order of magnitude
Needs testing!
Large count rate from (p,α) create pile-up, e.g. random coincidence from two instantaneous events
Sum-peak under the (p,γ) is created, reducing the efficiency
Event Rate: 0.1 kHz
Event Rate: 1 kHz

## Slide 14: Expected Rate
14
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
We should be able to measure down to 150 keV (lower than JUNA)
The event rate from the (p,α) will create huge pile-up if not controlled

## Slide 15: Expected Rates
15
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
The 100 Hz limit can not be achieved above 330 keV
Study of BGO signals necessary to measure the 350 keV resonance
We should be able to measure down to 150 keV (lower than JUNA)
The event rate from the (p,α) will create huge pile-up if not controlled

## Slide 16: Target Scans
16
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
The (p,α) channel at the 225 keV resonance can be used for target scans
The scan should be quick ~ 1 hour due to the high event rate

## Slide 17: Beamtime
17
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Beamtime | Duration | Description
1 | 3 weeks (Maybe November 2024) | Task 1: Study of the BGO signals ~ 1 or 2 days Task 2: Evaporated target study ~ 5 days for 2 targets (30 C each) Task 3: “Acid bath” target study ~ 5 days for 2 targets (30 C each) Task 4: Implanted target study ~ 5 days for 2 targets (30 C each) Task 5: Ta backing run ~ 1 day (approximately 10 C) + 4 days of contingencies
2 | (?) 4 weeks (February/March 2025) | Task 1: Detector calibration ~ 2 days Task 2: Cross section measurement ~ (?) 3 weeks for 10 keV steps + 5 days of contingencies
3 | (?) 3 weeks (June/July 2025) | Task 1: Additional calibration for reproducibility ~ 2 days Task 2: Long runs at lowest energies ~ (?) 2 weeks Task 3: Systematic uncertainty studies ~ 2 days + 4 extra days

## Slide 18: Conclusion
18
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
The measurement seems promising, in principle we can measure much lower than JUNA
A new target chamber will be bought in the next month
Several ideas (to be tested) on how to keep “pile-up” low
Several target options (to be tested)
Mailing: luna-19f+p@lists.infn.it
Trello: https://shorturl.at/zaNtt
GSBox: https://shorturl.at/ZofJ8

## Slide 19: Conclusion
19
19F(p,γ)20Ne WG – Kick-off Meeting
24/09/24
Tasks
DAQ Improvements
Target Studies
Simulations
New PhD. Student @ UNIPD
Riccardo Biasissi
will lead the analysis of the data
The measurement seems promising, in principle we can measure much lower than JUNA
A new target chamber will be bought in the next month
Several ideas (to be tested) on how to keep “pile-up” low
Several target options (to be tested)
Let me know what you are interest in